## Slide 1
  The IR Spectrum
    Each stretching and bending vibration occurs with a characteristic frequency as the atoms and charges involved are different for different bonds
The y-axis on an IR spectrum is in units of % transmittance
In regions where the EM field of an osc. bond interacts with IR light of the same n – transmittance is low (light is absorbed)
In regions where no osc. bond is interacting with IR light, transmittance nears 100%
Infrared Spectroscopy

## Slide 2
IR Spectroscopy
  The IR Spectrum
    The x-axis of the IR spectrum is in units of wavenumbers, n, which is the number of waves per centimeter in units of cm-1 (Remember E = hn or E = hc/l)

## Slide 3
IR Spectroscopy
  The IR Spectrum
    This unit is used rather than wavelength (microns) because wavenumbers are directly proportional to the energy of transition being observed
      High frequencies and high wavenumbers equate higher energy
      is quicker to understand than
      Short wavelengths equate higher energy
    This unit is used rather than frequency as the numbers are more “real” than the exponential units of frequency
    IR spectra are observed for the mid-infrared: 600-4000 cm-1
    The peaks are Gaussian distributions of the average energy of a transition

## Slide 4
IR Spectroscopy
  The IR Spectrum
    In general:
    Lighter atoms will allow the oscillation to be faster – higher energy
      This is especially true of bonds to hydrogen – C-H, N-H and O-H
    Stronger bonds will have higher energy oscillations
        Triple bonds > double bonds > single bonds in energy
Energy/n of oscillation

## Slide 5
  The IR Spectrum – The detection of different bonds
    As opposed to chromatography or other spectroscopic methods, the area of a IR band (or peak) is not directly proportional to concentration of the functional group producing the peak
    The intensity of an IR band is affected by two primary factors:
      Whether the vibration is one of stretching or bending
      Electronegativity difference of the atoms involved in the bond
      For both effects, the greater the change in dipole moment in a given vibration or bend, the larger the peak.
      The greater the difference in electronegativity between the atoms involved in bonding, the larger the dipole moment
      Typically, stretching will change dipole moment more than bending
Infrared Spectroscopy

## Slide 6
  The IR Spectrum – The detection of different bonds
    It is important to make note of peak intensities to show the effect of these factors:
      Strong (s) – peak is tall, transmittance is low (0-35 %)
      Medium (m) – peak is mid-height (75-35%)
      Weak (w) – peak is short, transmittance is high (90-75%)
      * Broad (br) – if the Gaussian distribution is abnormally broad
      (*this is more for describing a bond that spans many energies)
      Exact transmittance values are rarely recorded
Infrared Spectroscopy

## Slide 7
II. Infrared Group Analysis
A. General
    The primary use of the IR is to detect functional groups
    Because the IR looks at the interaction of the EM spectrum with actual bonds, it provides a unique qualitative probe into the functionality of a molecule, as functional groups are merely different configurations of different types of bonds
    Since most “types” of bonds in covalent molecules have roughly the same energy, i.e., C=C and C=O bonds, C-H and N-H bonds they show up in similar regions of the IR spectrum
    Remember all organic functional groups are made of multiple bonds and therefore show up as multiple IR bands (peaks)
Infrared Spectroscopy

## Slide 8
II. Infrared Group Analysis
A. General
    The four primary regions of the IR spectrum
4000 cm-1
2700 cm-1
2000 cm-1
1600 cm-1
600 cm-1
O-H N-H C-H | C≡C C≡N | C=O C=N C=C | Fingerprint Region C-C C-N C-O
Infrared Spectroscopy
Bonds to H
Triple bonds
Double bonds
Single Bonds

## Slide 9
  Alkanes – combination of C-C and C-H bonds
    C-C stretches and bends 1360-1470 cm-1
    CH2-CH2 bond 1450-1470 cm-1
    CH2-CH3 bond 1360-1390 cm-1
    sp3 C-H between 2800-3000 cm-1
Infrared Spectroscopy
Octane
(w – s)
(m)

## Slide 10
  Alkenes – addition of the C=C and vinyl C-H bonds
    C=C stretch at 1620-1680 cm-1 weaker as substitution increases
    vinyl C-H stretch occurs at 3000-3100 cm-1
    The difference between alkane, alkene or alkyne C-H is important! If the band is slightly above 3000 it is vinyl sp2 C-H or alkynyl sp C-H if it is below it is alkyl sp3 C-H
1-Octene
Infrared Spectroscopy
(w – m)
(w – m)

## Slide 11
  Alkynes – addition of the C=C and vinyl C-H bonds
    C≡C stretch 2100-2260 cm-1; strength depends on asymmetry of bond, strongest for terminal alkynes, weakest for symmetrical internal alkynes
    C-H for terminal alkynes occurs at 3200-3300 cm-1
    Internal alkynes ( R-C≡C-R ) would not have this band!
1-Octyne
Infrared Spectroscopy
(m – s)
(w-m)

## Slide 12
  Aromatics
    Due to the delocalization of e- in the ring, C-C bond order is 1.5, the stretching frequency for these bonds is slightly lower in energy than normal C=C
    These show up as a pair of sharp bands, 1500 & 1600 cm-1, (lower frequency band is stronger)
    C-H bonds off the ring show up similar to vinyl C-H at 3000-3100 cm-1
Ethyl benzene
Infrared Spectroscopy
(w – m)
(w – m)