Complexometric Reactions and Titrations

Many metal ions form slightly dissociated with various ligand (complexing agents). Complexometric titration is useful for determining a large number of metals. Selectivity can be achieved by appropriate use of masking agents (addition of other complexing agents that react with interfering metal ions) and by pH control.

Complexes and formation constant:-

Complexes play an important role in many chemical and biochemical processes, for example, the heme molecule in blood holds the iron atom tightly because the nitrogen atoms of the heme form strong ligand or complexing bonds, which means nitrogen is a good complexer.

For a given species like ML, we can calculate an alpha value, which is the fraction of the total metal concentration existing in that form. Thus, α M is the fraction of the total metal present at equilibrium as the free metal, α ML is the fraction present as ML, and so on. the alpha values are given by:

Now αM can be found as:

From above Equations. We can find αML from

Many cations will form complexes in solution with a variety of substances have a pair of unshared electron (e.g. on N, O, S atoms in molecule) capable of satisfying the coordination number of the metal. The metal ion is a Lewis acid (electron pair

acceptor), and the complexer is a Lewis base (electron pair donor). The number of molecules of the complexing agent, called the ligand, will depend on the coordination number of the metal and on the number of complexing group on the ligand molecules.

Ag++NH3↔Ag(NH3)+    ,    Kf1=[Ag(NH3)+]Ag+[NH3]=2.5×103

Ag(NH3)++NH3↔Ag(NH3)2+  ,   Kf2=[Ag(NH3)2+][Ag(NH3)+][NH3]=1.0×104

Ag++2NH3↔Ag(NH3)2+    ,   Kf=Kf1.Kf2=[Ag(NH3)2+][Ag+][NH3]2=2.5×107

Formation constant (Kf):- the formation constant is also called the stability constant Ks or Ksp.

Kf=Ks=1Ki=1Kd

Ag(NH3)2+↔Ag++2NH3    ,   Kd=1Kf=[Ag+][NH3]2[Ag(NH3)2+]=4.0×10-8

Example:- A divalent metal M+2 reacts with a ligand L to form 1:1 complex.

M+2+L=ML+2 ,   Kf=[ML+2]M+2[L]=1.0×108

Calculate the conc. of M+2 in a solution prepared by mixing equal volume of 0.2M (M+2) and 0.2M (L), Kf=1.0×108.

Kf=[ML+2]M+2[L]=1.0×108=0.10x(x)

x=M+2=3.2×10-5M

Example:- Silver ion forms a stable 1:1 complex with triethylene tetramine (trien) [NH2(CH2)2NH(CH2)2NH(CH2)2NH2]. Calculate the silver ion conc. at equilibrium when 25mL of 0.01M silver nitrate is added to 50mL of 0.015M trien, Kf=5.0×107 ?

Ag++trien↔Ag(trien)+ ,   Kf=[Ag(trien)+]Ag+[trien]=5.0×107

[Ag+] unreacted = x

mmol Ag+=M×V=0.01×25=0.25mmol

mmol trien=M×V=0.015×50=0.75mmol

mmol trien unreacted=0.75-0.25=0.5mmol

Mtrien=mmolV=0.550+25=6.7×10-3

Kf=[Ag(trien)+]Ag+[trien]=5.0×107=25mmol50+25x(6.7×10-3)=3.3×10-3x(6.7×10-3)

x=Ag+=9.8×10-9M

Chelates:-EDTA (the ultimate titrating agent for metals): An organic agent that has two or more groups capable of complexing with a metal ion is called a chelating agent, the complex formed is called a chelate. The chelating agent is called the ligand. Titration with a chelating agent is called a chelometric titration.

The term chelate is derived from the Greek term meaning (claw like) chelating agents literally wrap themselves around a metal ion.

EDTA equilibrium:-The protons in EDTA Ethylene Diamine Tetra Acetic acid are displaced upon complexing with a metal ion. Negatively charged chelate results

Tetraprotic acid (H4Y): six complexing groups (hexadentate) multidentate

Formation constant:-Lets EDTA = Y

Effect of pH on EDTA equilibria:-

Composition of EDTA solutions as a function of pH

α0=fraction of the total EDTA species that exists as H4Y

α1=fraction of the total EDTA species that exists as H3Y-

α2=fraction of the total EDTA species that exists as H2Y2-

α3=fraction of the total EDTA species that exists as HY3-

α4=fraction of the total EDTA species that exists as Y4-

α4=Y-4CT  ,   ∝3=HY3-CT  ,  ∝2=H2Y2-CT  ,  ∝1=H3Y-CT   ,  ∝0=H4YCT

Example:- Calculate the fraction of EDTA that exists as Y-4 at pH 10, and from this calculate pCa in 100mL of solution of 0.1M Ca+2 at pH 10 ( α=0.35) after adding 100mL of 0.1M EDTA.

mmol Ca2+=M×V=0.1×100=10.0mmol

mmol EDTA=M×V=0.1×100=10.0mmol

We have formed 10.0mmol CaY-4 in 200mL, or 0.050M

Kf=[CaY-2]Ca+2α4[CH4Y]=0.05x0.35(x)

x=1.7×10-6M

pCa=-log1.7×10-6=5.77

Conditional formation constant (used for a fixed pH):

Kf`=conditional formation constant=Kfα4=[CaY-2]Ca+2[CH4Y]

The conditional formation constant value holds for only a specified pH.

Example:- The formation constant for CaY2- is 1.8×1010 at pH10. Calculate pCa in 100mL of a solution of 0.10M Ca+2 at pH10 after addition of a 0mL, 50mL, 100mL and 150mL of 0.1M EDTA?

(1) At 0mL: (0.10M Ca+2 alone)            pCa=-logCa2+=-log0.1=1.0

(2) At 50mL: before equivalence point

mmol Ca2+=M×V=0.1×100=10.0mmol

mmol EDTA=M×V=0.1×50=5.0mmol

mmol Ca2+unreacted=10.0-5.0=5.0mmol

pCa=-logCa2+=-log5.0mmol100mL+50mL=1.48

(3) At 100mL: equivalence point

Kf=[CaY-2]Ca+2[CH4Y]=1.8×1010=10mmol100mL+100mLx(x)

x=1.7×10-6M

pCa=-logCa2+=-log1.7×10-6=5.77

(3) At 150mL: after equivalence point

mmol EDTA=M×V=0.1×150=15.0mmol

mmol EDTA unreacted=15.0-10.0=5.0mmol

MEDTA=5mmol100mL+50mL=0.02M

[CaY-2]=10mmol100mL+150mL=0.04M

0.04Ca+2(0.02)=1.8×1010

Ca+2=1.1×10-10M

pCa=9.95

Example: - Calculate the equilibrium concentration of Ni2+ in a solution with an analytical Niy2- concentration of 0.0150 M at pH (a) 3.0 and (b) 8.0. (α4 is 2.5×10-11 at pH 3 and  5.4×10-3 at pH 8). Kf = 4.2 × 1018

KNiY =NiY2-Ni2+∝4CT=NiY2-Ni2+2∝4

a) At pH 3

(b) At pH 8

Spreadsheet for the titration of 50.00 mL of 0.00500 M Ca2+ with 0.0100 M EDTA in a solution buffered at pH 10

Metal-EDTA titration curves:-Only some metal chelates are stable enough to allow titration in acid solution, others require alkaline solution.  Titration curves for 100mL 0.1M Ca+2 versus 0.1M Na2EDTA at pH7 and pH10.

Detection of the endpoint (indicators: they are chelating agents indicators used for chelometric titrations are themselves chelating agents. They are usually dyes of the o,o’-dihydroxyazo type. Eriochrome Black T (EBT): is a typical indicator it contains three ionisable protons, so we will represent it by H3In. This indicator can be used for the titration of Mg+2 with EDTA. A small amount of indicator is added to the sample solution, and its forms a red complex with part of the Mg+2, the colour of the uncomplexed indicator is blue, as soon as all the Mg+2 is titrated, the EDTA displaces the indicator from the magnesium, causing a change in the colour from red to blue.

This will occur over a pMg range, and the change will be sharper if the indicator is kept as dilute as possible and will still give a good colour.

Figure below shows the minimum pH at which different metals can be titrated with EDTA. The points on the curve represent the pH at which the conditional formation constant Kf for each metal is 106 (log Kf = 6), which was arbitrarily chosen as the minimum needed for a sharp end point. Note that the smaller the Kf , the more alkaline the solution must be to obtain a Kf of 106 (i.e., the larger α4 must be). Thus, Ca2+ with Kf only about 1010 requires a pH of ∼≥ 8. The dashed lines in the figure divide the metals into separate groups according to their formation constants. One group is titrated in a highly acidic (pH < ∼3) solution, a second group at pH ∼3 to 7, and a third group at pH > 7. At the highest pH range, all the metals will react, but not all can be titrated directly due to precipitation of hydroxides. For example, titration of Fe3+ or Th4+ is not possible without the use of back-titration or auxiliary complexing agents to prevent hydrolysis. At the intermediate pH range, the third group will not titrate, and the second group of metals can be titrated in the presence of the third group. And finally, in the most acidic pH range, only the first group will titrate and can be determined in the presence of the others. Note that a moderately acidic environment is satisfactory for many divalent heavy-metal cations and that a strongly acidic medium can be tolerated in the titration of such ions as iron (Ill) and indium(Ill).

Minimum pH needed for satisfactory titration of various cations with EDTA.