## Slide 1: Direct ophthalmoscope
By Mohammed Suhail AlSalam

## Slide 2
1 Understand the utility of the direct ophthalmoscope
2 Identify key anatomical structures visible with the direct ophthalmoscope
3 Learn the parts and settings of the direct ophthalmoscope
4 Learn the exam technique of the direct ophthalmoscope
Learning Objectives

## Slide 3
–Johnny Appleseed
“Type a quote here.”
Direct ophthalmoscope parts

## Slide 4
–Johnny Appleseed
“Type a quote here.”
Direct ophthalmoscope parts
Examiner side

## Slide 5
–Johnny Appleseed
“Type a quote here.”
Direct ophthalmoscope parts
Patient side

## Slide 6
“Type a quote here.”
Direct ophthalmoscope

## Slide 7
–Johnny Appleseed
“Type a quote here.”
Direct ophthalmoscope principle

## Slide 8
–Johnny Appleseed
“Type a quote here.”
Direct ophthalmoscope
Image characteristics

## Slide 9
Exam Technique
1 Wash your hands.
2 Introduce yourself to the patient and explain what you are going to do.
3 Position the patient so that the ophthalmoscope is held directly at the level of the patient’s eye.
4 Turn on the ophthalmoscope and set the light to the correct aperture.
5 Dim the lights.
6 Instruct the patient to focus on an object straight ahead on the wall.
7 To exam the patient’s RIGHT eye, hold the ophthalmoscope in your RIGHT hand and use your RIGHT eye to look through the instrument.
8 Place your left hand on the patient’s head and place your thumb on their eyebrow.

## Slide 10
9 Hold the ophthalmoscope about 6 inches from the eye and 15 degrees to the right of the patient.
10 Find the red reflex.
11 Move in closer, staying nasally until you see the optic nerve.
12 Rotate the diopter lens until the optic nerve comes into focus.
• The farsighted eye requires more plus/green number lenses.
• The nearsighted eye requires more minus/red number lenses.
13 Measure the cup to disc ratio.
14 Scan slightly up, down, right and left to look at the vessels.
15 Move out temporally to find the macula and fovea.
16 Repeat the same technique on the other eye.
Exam Technique

## Slide 11
Normal Fundus appearance

## Slide 12
Fundus abnormalities
disc swelling
advanced disc cupping

## Slide 13
Fundus abnormalities

## Slide 14
Direct Ophthalmoscope
Advantages
Dis-Advantages
Portable
Easy to use
Magnification around 15 times
Can be used without dilatation
Small field of view
No stereopsis
Media opacity can largely degrade image

## Slide 15
THANK YOU