## Slide 1
INTRODUCTION
Disorders of lipids is very importance to
medical practice owing to its strong relations to
Arteriosclerosis and thus obesity, HTN, DM and
other abnormalities
Good prognosis in the manegment of these conditions are
predicated on early detection of deranged blood
lipid profile
Indications for Lipid Profile include:
- Screening for primary & secondary hyperlipidemias
- Monitoring for risk of atherosclerosis
- Monitoring treatment of hyperlipidemias
CHOLESTEROL and TRIGLYCERIDE are the plasma
lipids of most interest in the diagnosis and
management of lipoprotein disorders

## Slide 2
PREANALYTICAL CONSIDERATIONS
It is important to standardize conditions under which blood
specimen are drawn & prepared for analysis.
Biological Variations:
Age : cholesterol levels increase with age.
Sex : women have lower level than men except in childhood &
after early 50's.
Season : cholesterol levels are slightly higher in cold wether.
Food intake: daily intake of fat increases cholesterol levels.
Patients should be on their usual diet for 2wks and are neither
gaining nor losing weight.
Medical conditions: thyroid, liver, and kidney diseases
Acute illness : It is recommended that lipoproteins measurement
should be made no sooner than 8weeks after any form of
trauma or acute bacterial/viral infection and 3 - 4 months after
child birth
Life-style : higher in sedentary and poor diet habits

## Slide 3
Specimen Collection and Storage:
Patient should fast for 12hours before sampling.
- The concentration of LDL-C/HDL-C declines after eating
- Chylomicrons are cleared within 6 - 9hrs and their presence after
12hrs fast is abnormal.
Posture:
- Decreases of as much 10% in conc. of TC, LDL-C, HDL-C and apo-A-I
and B, have been observed after 20 minutes recumbence
- patient to be seated for 5min prior to sampling to prevent hemo-
concentration.
Prolonged venous occlusion leads to increase in cholesterol
conc by 10 - 15%
- Torniquet should not be for more than minutes or two.
Exercise:
- Mild exercise produces a slight decrease in conc of cholesterol and TG
that may persists for several days.
- Those who walk for about 4 hours each week have an average
cholesterol conc. 5% lower and HDL-C conc 3.4% higher than inactive
persons

## Slide 4
Menstrual cycle:
- The plasma chol and TG conc tend to be highest at midcycle,
the time of maximum estrogen secretion
- The cyclical variation in cholesterol is not observed with
anovulatory cycles
Diet:
- A high fat diet increases serum TGs.
- Ingestion of monounsaturated fat reduces cholesterol.
- Plasma triglyceride conc is reduced when sucrose intake is
reduced.
- Individuals who eat many small meals throughout the day tend
to have conc. of total LDL and HDL-C that are lower than when
same type and amount of food is eaten in three meals.
- Large protein meals at lunch or in the evening also increase the
serum cholesterol for atleast 1 hour after a meal.
- In vegeterian individuals, conc. Of LDL & VLDL-C are reduced by
37 % and 12%.

## Slide 5
Smoking:
- The plasma cholesterol , triglyceride and LDL cholesterol
conc. are higher by about 3 %, 9.1 % and 1.7 % respectively
in smokers than in non smokers.
- HDL cholesterol is lower in smokers than in non smokers
Alcohol ingestion:
- When moderate amount of alcohol is ingested for 1wk, the
serum TG conc is increased by more than 20mg/dL.
- Prolonged moderate ingestion may increase HDL-C conc,
which is associated with reduced plasma conc of
cholesterol ester transfer protein(CETP).
Plasma vs Serum:
- Either can be used when TC, TG and HDL-C are measured.
- Plasma is preferred when lipoprotein are measured by
ultra-centrifugation and electrophoretic methods.
- Serum can be used when it is necessary to store samples
for weeks or months.

## Slide 6
Venous vs Capillary samples:
- Measurements in the capillary samples seem to be little lower than
venous samples.
Anticoagulants:
- Some anticoagulants such as citrate exert large osmotic effect resulting
in falsely low plasma lipid and lipoprotein concentration.
- Heparin: because of its high M.W can alter electrophoretic mobility of
lipoproteins.
- EDTA is preferred anticoagulant even though TC and TG conc in EDTA
plasma are 3 % lower than in serum.
- EDTA inhibits oxidation of lipids and proteolysis of apolipoprotein.
- TC values of EDTA plasma should be multiplied by 1.03 to make it
comparable to serum values.
Storage:
-
TC, TG, HDL-C can be satisfactorily analyzed in frozen samples.
-
Apolipoproteins can also be measured in frozen samples.
-
Serum or plasma must be stored at - 70 o C if stored for long time.
-
For short time storage ( upto a month or two ) the sample can be kept
at - 2 o .

## Slide 7
ANALYTICAL METHODOLOGY
TOTAL CHOLESTEROL:
Chemical Method: via Liebermann-Burchardt Reaction
Enzymatic Method:
- Cholesterol oxidase (Routine Lab)
TRIGLYCERIDE:
Chemical Method
- Van Handel and Zilversmith
Enzymatic Method
- Glycerol Kinase
LIPOPROTEINS:
Polyanion Precipitation
Electrophoresis
Ultra-centrifugation
Immunochemistry
OTHER METHODS:
- Mass Spectrometry
- Chromatography
- Homogenous assay

## Slide 8
Cholesterol Estimation
CHEMICAL METHODS:
-
- Liebermann-Burchardt Reaction (L-B Reaction):
Cholesterol + Sulfuric acid + Acetic anhydride => bluish green
solution

## Slide 9
ENZYMATIC METHOD:
Cholesterol Oxidase Method (Routine Lab - Assay of
Choice):
Principle:
Cholesterol ester + H 2 0 cholesterol esterase -> Free cholesterol
Free Cholesterol cholesterol oxidase -> 4 cholestene-3-one + H 2 0 2
- Trinders Reaction:
H 2 0 2 + 4-aminophenazone peroxidase -> Quinoneimine dye (red) + H 2 O
- Read at 500nm wavelength
- Linear up to 600 - 700mg/dL (15.54 - 18.13mmol/L)
Advantages (in comparison to the Chemical Method):
-
Precise and accurate
-
Lesser interferences - bilirubin, ascorbic acid, Hb
-
Smaller sample quantity
-
Rapid; does not require preliminary extraction step
-
Can be used to measure unesterified cholesterol by omitting de-
esterification step
- Mild reagents; better suited for automated analysers

## Slide 10
Disadvantages:
- They are not absolutely specific for cholesterol.
Cholesterol oxidase reacts with other sterols e.g plant sterol
- Ascorbic acid and Bilirubin interfere by consuming
H 2 0 2
Bilirubin interference can produce falsely high or low values
Significant only at conc >5mg/dL decreasing Chol values by 5
- 15%
GC - MS METHOD (Reference Method):
Specifically measures cholesterol and does not detect related
sterols
Shows good agreement with the Definitive Method - Isotope
Dilution Mass Spectrometry
Cholesterol Desirable level: < 200mg/dL (< 5.2mmol/L); Conversion
factor = 0.026

## Slide 11
Estimation of Lipoproteins
POLYANION PRECIPITATION:
Lipoproteins are precipitated with polyanions ( heparin sulfate,
dextran sulfate and phosphotungstate)
Reaction should be in the presence of divalent cations Mg, Ca
and Mn
Most commonly for HDL and is reasonably specific
LIPOPROTEIN ELECTROPHORESIS:
Used to identify rare familial disorders (e.g Type I, III, V
Hyperlipidemia)
Indications:
-
serum TG > 300 mg/dL
-
fasting serum is lipemic
-
significant hyperglycemia, impaired glucose intolerance
-
serum uric acid > 8.5 mg/dL
-
clinical evidence of CHD or atherosclerosis in patient < 40 years of
age.

## Slide 12
Provides visual display useful in detecting unusual or
variant patterns
Agarose gel - most common; provides a clear background
and convenient in use
More useful in qualitative analysis
Not desirable in LP quantitation due to poor precision and
large systemic biases
ULTRA-CENTRIFUGATION:
Preparative Ultracentrifugation
- Uses sequential density adjustments of serum to fractionate
major and minor classes of LP
Density gradient methods
permits fractionation or several or all classes
of LPs in a single run

## Slide 13
HDL - C Estimation:
PRECIPITATION METHOD:
- Precipitating reagents such as divalent cations and polyanions
are used to remove all lipoproteins except HDL
- Enzymatic method for total cholesterol (Cholesterol Oxidase) is
used to quantitate HDL - C
Interference from elevated TG levels causing incomplete sedimentation
after centrifuging which results in over estimation of HDL-C
MAGNETIC METHOD
Similar to the HDL-C precipitation method but uses a
precipitant that is complexed to magnetic particle
This sediments and does not require centrifugation
Has been adapted for use in automated clinical chemistry
analysers because,
It allows the supernatant to be analysed without the need
to remove it from the sedimented complex.

## Slide 14
HOMOGENOUS ASSAY (Direct HDL-C Assay):
Enzymatic method:
- First reagent - "blocks" non -HDLs
Use of Antibodies or Polymers or complexing agent e.g Cyclodextrin
Modification of cholesterol esterase and oxidase enzymes which makes
them selective for HDL-C
Use of blanking step that selectively consumes cholesterol from non-HDL
species
- Second reagent - quantifies accessible HDL-C
Highly precise and reasonably accurate but lacks specificity for HDL in
unusual specimens e.g liver or kidney disease
The "Three - step Procedure"(Reference method for HDL -C
estimation):
- Ultracentrifugation to remove VLDL
- Heparin manganese precipitation to remove LDL
- Analysis of supernatant cholesterol by the Abell Kendall assay
It is tedious and expensive

## Slide 15
LDL - C Estimation
INDIRECT METHODS:
Fridewald Equation(Calculation Method) - Routine.
- LDL - Chol(mmol/L) = [TC - HDL-Chol] - Plasma TG/2.175;
or, LDL-Chol(mg/dL) = [TC - HDL-Chol] - Plasma TG/5
VLDL (mg/dL) = [TAG]/5 or VLDL (mmol/L) = [TAG]/2.175
The factor [TAG]/5 is an estimate of the VLDL cholesterol and is
based on the average ratio of triglyceride to cholesterol in VLDL
Equation assumes patient fasted and plasma [TAG] does not
exceed 5.0mmol/L
- Limitations: not appropriate in
Samples with TG > 400mg/dL
Patients with suspected Dysbetalipoproteinaemia
- Other limitations:
Does not account for cholesterol assosciated with IDL and Lp(a)
Underestimate LDL-C in chronic alcoholics
Unsuitable for monitoring
Mis-classifies 15 - 40 % of patients when TG levels are between
200 to 400 mg/dL

## Slide 16
Triaglycerides:
CHEMICAL METHOD:
First, Lipids are extracted using chloroform and phospholipids
and removed by absorption
Van Handel and Zilversmith Method (former Reference Method):
Principle:
TAG alcoholic KOH - > Glycerol + Fatty acids
Glycerol + periodic acid ---------------> Formaldehyde
Formaldehyde + Chromotropic acid-------------> Blue solution
-
GC - MS METHOD (Reference Method):
Hydrolysis of fatty acids on TGs and measurement of Glycerol

## Slide 17
ENZYMATIC METHOD:
Glycerol Kinase Method:
Principle:
TAG + 3H 2 0 lipase -> Glycerol + 3fatty acids
Glycerol + ATP glycerol kinase -> Glycerophosphate + ADP
Glycerophosphate Glycerophosphate Oxidase -> Dihydroxyacetone +
H 2 O 2
H 2 O 2 + Chromogen peroxidase -> Pink compound + H 2 O
Read absorbance at 500nm wavelength, and
linear up to 700mg/dL

## Slide 18
- Glycerol kinase reacts with endogenous free glycerol
causing interference which is clinically insignificant
except in
DM,
emotional stress,
IV admin of glycerol containing drugs or nutrients,
contamination of blood collecting devices, and
prolonged storage under non-refridgerated conditions
-
Corrected by
by enzymatically consuming glycerol in a prereaction step
before measuring TG
Triglycerides Desirable Level: <176 mg/dl (<2.0mmol/L);
Conversion factor: 0.011

## Slide 19
Apolipoproteins
Apolipoproteins of clinical importance are:
- Apo B: an indicator of combined LDL and VLDL concentration
- Apo A-1: major protein of HDL
- Lp(a): the variant of LDL, an independent indicator of CHD risk
Commonly measured by Immunoassays of different types
IMMUNOTURBIDIMETRY:
Most common method; advantages:
- Easily adapted spectrophotometric analysers
- allows the use of commercially available antisera and reference sera.
Other immunochemical methods available include:
- Enzyme-linked Immunosorbent Assay (ELISA)
- Radial Immunodiffusion (RID)
- Radioimmunoassay (RIA)
Antibodies used may be either monoclonal or polyclonal