## Slide 1: In vitro Cytotoxic Assay
Cytotoxic Assay on Cell Lines:
م. د. امال محمد علي
2022

## Slide 2
This step was prepared under aseptic conditions according to (Freshney, 2001).
All extracts were prepared for microtitration assay by dissolving 0.01g of each extract in 10ml of solvent(0.1ml DMSO + 9.9ml DDW, the stock concentration is 1000µg/ml) and filtered by 0.22µ Millipore filter, Then each extract being ready to be used as stocks. From each stocks four double fold concentrations were made (62.5, 125, 250, 500µg/ml).

## Slide 3
When the cells are in the exponential phase exactly in population doubling time (PDT), which the cells in full of its activity (depending on the growth curve of each cell lines). The cells were collected after adding trypsin/versine (2-3ml) not more than 10 min. and then concentrated into known volume with SFM as described in (3.5.1.8). Cells were counted as described in (3.6.4.2) in order to get a final concentration of 1x105 cell/well.

## Slide 4
Afterward, 0.2ml of prepared concentrations were added to the 96-well microtitration plate. The plate was covered with microtitration lid and sealed with adhesive film, placed in CO2 incubator at 37°C for not more than 24 hrs. (for cells adherence). After cells attachment, the plate was checked-out for contamination and the media were removed. Serial concentrations were added and three replicates were used to each concentration and control (cells with SFM only). The exposure time was 72 hrs.

## Slide 5
After the exposure time was finished, the extracts and media were removed and a fresh SFM was added to all wells, and incubated for 24hr. at 37°C to give a chance if the affected cells and not damaged being repaired by self repairing system.

## Slide 6: • Staining with MTT stain
The media was removed from the plate and washed with PBS (at 37°C). A 50-100 µl of MTT working solution dye was added to each well and incubated at 37°C for 2- 4 hrs. At the end of last incubation period the dye was removed from the plate, then 50-100 µl of DMSO was added to each well on shaker to dissolve the MTT- formazan crystals. Finally the plate became ready for reading by ELISA reader at 550 nm.

## Slide 7: • Staining with Crystal violates stain
The media was removed from the plate and washed with worm PBS three time. A 0.1ml of Crystal violate working solution dye was added to each well and incubated at 37°C for 20 min., at the end of last incubation period the dye was removed from the plate and the wells washed with tab water until the plate was become clean. Finally the plate became ready for reading after dry by ELISA reader at 492 nm.